## Solar Tracker assignment

## By Arthur Roberson

Aim: The aim of this investigation is to analyse the efficiency gain of the solar tracker, compared to a fixed axis solar panel.  A photovoltaic power station, better known as a solar farm or solar park, is a large scale photovoltaic system. PV systems are made up of one or more solar panels. These are used to harness the suns light and turn it into energy, this power or energy is converted using an AC/DC converter. Now these systems are designed to supply power to an electrical power grid. The primary energy conversion is made through photovoltaic modules. Photovoltaic modules are the reason solar panel can create energy, as they convert light straight to electricity. There are three different types if array arrangements, single dual and fixed axis trackers. The most efficient of all the trackers is the dual axis tracker, as it is capable of following the sun on it orbit over the earth for each day, This increase out up by up to 30 precent, but does cost a substation amount more to maintain and to build. For this assignment I will be testing the efficiency gain on a single axis solar tracker.

Data analysis: After the test was finished and the data was recorded we used the data to figure out the efficiency gain = (.181-.1156)/.1156 = 57%. This shows that the power that is gained from the tracker.

This test was run assuming 10 hours of even sunlight. @

Optimum panel angle at test sight: 26.28 North

| Fixed Solar Panel Control |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Degrees off normal | Angle (degrees) | Voltage | Amperage (amps) | Power (Watts) | Watt hours @ |
| 4 | 30 | 0.9 | 0.007 | 0.0063 | 0.063 |
| 34 | 60 | 1.5 | 0.009 | 0.0135 | 0.135 |
| 64 | 90 | 1.7 | 0.01 | 0.017 | 0.17 |
| 94 | 120 | 1.6 | 0.009 | 0.0144 | 0.144 |
| 124 | 150 | 1.1 | 0.006 | 0.0066 | 0.066 |
|  | avg | 1.36 | 0.0082 | 0.01156 | 0.1156 |

| Solar Tracker |  |
| --- | --- |
| Voltage (V) | 1.81 |
| Amperage (A) | 0.01 |
| Power | 0.0181 |
| Per day Watt hours | 0.181 |